Change Proposal Circular

| To | BSC Change Administrators (BCA)/ Party Agent Change Administrators (PACA) |  |  |
| --- | --- | --- | --- |
| No. | CPC00570 |  |  |
| From | Change Planning |  |  |
| Date | 05 May 2006 |  |  |

Impact Assessment of CP1162 and CP1163

ELEXON has identified that the following groups of participants are expected to be impacted: Suppliers, Non Half Hourly Data Collectors, Half Hourly Data Collectors, SVA Half Hourly Meter Operator Agents and SVA Non Half Hourly Meter Operator Agents. However this list may not be exhaustive. Please carefully review the attached CPs to determine if they are likely to have an impact on your business.

CP1162 – Sending revised Meter Technical Details during a change of Meter Operator Agent

Within BSCP514 ‘SVA Meter Operations for Metering Systems registered in SMRS’ are two procedures for change of Meter Operator Agent (MOA) without a change of Supplier. Both procedures assume that no change of the Metering System occurs once the de-appointment notice has been issued. The originator believes that there are some cases where the Metering System can be changed by the old MOA between the de-appointment notice and the new MOA becoming responsible for the Metering.

CP1162 proposes that following the sending of Meter Technical Details (MTDs) in response to a D0170 ‘Request for Metering System Related Details’ flow the old MOA should be responsible for sending any revised Meter Technical Details to the new MOA until the change of MOA has been completed.

The estimated ELEXON implementation cost is £2,860. This change would be implemented such that the new process would be effective for all change of Meter Operator Agent events occurring on or after the Implementation Date of the Change Proposal.

ELEXON believes that this CP will affect the following: Suppliers, SVA Half Hourly Meter Operator Agents and SVA Non Half Hourly Meter Operator Agents.

CP1163 - Requesting Meter Technical Details during a change of Meter Operator Agent

During a change of MOA, with no change of Supplier, the Supplier instructs the old MOA to send MTDs to the new MOA. However, during a change MOA with a change of Supplier it is the responsibility of the new MOA to request the MTDs from the old MOA.

CP1163 proposes that the procedure should be the same for both cases – the new MOA should request MTDs from the old MOA.

The estimated ELEXON implementation cost is £1,980. This change would be implemented such that the new process would be effective for all change of Meter Operator Agent events occurring on or after the Implementation Date of the Change Proposal.

ELEXON believes that this CP will affect the following: Suppliers, Non Half Hourly Data Collectors, Half Hourly Data Collectors, SVA Half Hourly Meter Operator Agents and SVA Non Half Hourly Meter Operator Agents.

Please carry out an IA on the attached CPs and return your responses using the attached forms by 5pm on Friday 02 June 2006.  Please let me know as soon as possible if you are unable to meet this deadline.  No response to this CPC will be taken to mean that your organisation is in agreement with the proposal.

If you have any queries please contact the ELEXON Helpdesk on 020 7380 4222 or email helpdesk@elexon.co.uk.

Andrew Wright

Release Planning Analyst

To: Andrew Wright

# Email:	ccc@elexon.co.uk

Please note: If the following impact assessments are to be completed by the same BCA please indicate this in the box below. It is then only necessary to complete the BCA details on the first form and not on each individual form.

| Single BCA |  |
| --- | --- |

CP1162

| Impact Assessment Form (F40/03) |
| --- |
| Proposal No. | CP1162 - Sending revised Meter Technical Details during a change of Meter Operator Agent |
| Synopsis of Change | Please see page 1. |
| Proposed Release and/or Implementation Date | Next appropriate release. |

| Proposed Change: Please tick where appropriate |
| --- |
| Agree Change |  | Comments |  |
| Disagree Change |  | Reason |  |
| Neutral |  | Comments |  |
| Not Applicable |  | Reason |  |
| Impact on Organisation’s Systems and/or Processes: Please tick where appropriate |
| Yes |  | Comments |  |
| No |  | Comments |  |
| Implementation Notification Required: |
| No. of Days |  | Comments |  |
| Other Comments: |
| Name: Organisation: BCA/PACA: (delete as appropriate) Email Address: Phone No: |

CP1163

| Impact Assessment Form (F40/03) |
| --- |
| Proposal No. | CP1162 - Requesting Meter Technical Details during a change of Meter Operator Agent |
| Synopsis of Change | Please see page 1 to 2. |
| Proposed Release and/or Implementation Date | Next appropriate release. |

| Proposed Change: Please tick where appropriate |
| --- |
| Agree Change |  | Comments |  |
| Disagree Change |  | Reason |  |
| Neutral |  | Comments |  |
| Not Applicable |  | Reason |  |
| Impact on Organisation’s Systems and/or Processes: Please tick where appropriate |
| Yes |  | Comments |  |
| No |  | Comments |  |
| Implementation Notification Required: |
| No. of Days |  | Comments |  |
| Other Comments: |
| Name: Organisation: BCA/PACA: (delete as appropriate) Email Address: Phone No: |