## Charge Code
Nominal Watts | Unit Description 1 | Unit Description 2 | Company | Manufacturer's Designation | New Charge Code | Circuit Watts | Circuit VA | Circuit VAR | Circuit Power Factor | Dimmed Circuit Watts | Dimmed Circuit VA | Dimmed Circuit VAR | Dimmed Power Factor | Status | Date Issued | End Date | Standard/Non Standard Conversion | Lamps / Signals / Miscellaneous | Date Amended (This column is used when a change to the equipment description, circuit watts, or anything other than the Charge Code itself is made. | Amendment Notes
15 | LED Belisha Beacons (Dimmed) |  | Ticknall Solar Ltd | High Visibility LED Belisha Beacon (Dimmed) | 7950015000100 | 6.5 | 15 | 13 | 0.44 | 4 | 9.8 | 9 | 0.41 | P | 2018-03-14 |  |  | Signals

## Drop downs (hidden)
Description | Code | Status | MDD release dates | Equipment Type
2 lamp pedestrian aspect ( dimmed) | 01 | P | 2016-01-20 | Lamps
2 lamp pedestrian aspect (undimmed) | 03 |  | 2016-02-17 | Signals
3 lamp vehicle aspect (dimmed) | 11 |  | 2016-03-16 | Miscellaneous
3 lamp vehicle aspect (undimmed) | 12 |  | 2016-04-20
AA/RAC Boxes | 14 |  | 2016-05-18
Advertising Hoardings | 21 |  | 2016-06-15
Alarm System | 23 |  | 2016-07-20
Audio Equipment | 24 |  | 2016-08-17
Automated Number Plate Recognition System | 25 |  | 2016-09-21
Automatic Railway Crossing | 26 |  | 2016-10-19
Battery Charger | 27 |  | 2016-11-16
Belisha Beacons | 28 |  | 2016-12-21
Bus Information Systems | 29 |  | 2017-01-18
Bus Shelter | 31
Cable less Link Unit (CLU) | 32
Cable Network Cabinets | 33
Cathodic Protection | 34
CCTV Illuminator | 35
Clock | 36
CMS Equipment | 37
Cold Cathode
Communications equipment | 39
Continuous Green Aspect (dimmed) | 40
Continuous Green Aspect (LED) (dimmed) | 41
Continuous Green Aspect (LED) (undimmed) | 45
Continuous Green Aspect (undimmed) | 50
Controller
Cosmopolis
Damp Proof Course
Detector Power Pack Unit (DPU)
Door Answering Service
Electrical Isolation Device
Electronic Ballasts
Fire Warning System
Gas Governors
Gauging Flume
General lighting service filament
High Pressure Mercury
High Pressure Mercury (Blended)
High Pressure Mercury (Ceramic Discharge Metal Halide)
High Pressure Mercury (Halide)
High Pressure Mercury (Induction)
High Pressure Mercury (Metal Arc)
High Pressure Sodium
Ice Detector
Illuminated Map Cabinets
Information Systems
Lamp Monitoring Unit (LMU)
LED 2 Lamps far side pedestrian aspect (dimmed)
LED 2 lamps far side pedestrian aspect (undimmed)
LED 3 lamp vehicle aspect (dimmed)
LED 3 lamp vehicle aspect (undimmed)
LED Belisha Beacons (dimmed)
LED Belisha Beacons (undimmed)
LED filter (dimmed)
LED filter (undimmed)
LED pedestrain nearside aspect wait signal/Push Button (dimmed)
LED pedestrain nearside aspect wait signal/Push Button (undimmed)
LED Regulatory Sign Light
LED School Crossings
LED Street Lights
LED Wait signal/Push button (undimmed)
Lifting Barrier
Light Emitting Diodes (LEDs)
Low Pressure Mercury - Compact Integral Standard
Low Pressure Mercury (2D) - Single Lamp
Low Pressure Mercury (Compact) - Single Lamp
Low Pressure Mercury (Compact) - Single Lamp
Low Pressure Mercury (Compact) - Single Lamp
Low Pressure Mercury (Compact) - Twin Lamp (two lamps operated in series on a single ballast)
Low Pressure Mercury (Fluorescent Tube) - Single Lamp
Low Pressure Mercury (Fluorescent Tube) - Twin Lamp (two lamps operated in series on a single ballast)
Low Pressure Mercury (Induction)
Low Pressure Sodium
Low Pressure Sodium (Economy)
Luminescent
Microprocessor Optimised Vehicle Actuation ( MOVA)
Motorway Overhead Gantry
Navigation Signal
Other
Outstation Monitoring Unit (OMU)
Outstation Transmission Unit (OTU)
Pay & Display Machine
Pedestrian Detector
Pedestrian Detector with night life
People Counter/Traffic Counter
Phone Card Phones
Pole Mounted Responder
Police Boxes
Pump
Radio Equipment
Radio Relay Station
Radio Transmitter
Railway Signal
Rain Gauge
Regulatory or Box Sign
School Crossing
Septic Tanks
Sewage Flow Recorder
Speed Discrimination Unit (SDU)
Speed Warning Signs
Speeding / Red Light Camera
Storm Overflow
Supply Cabinet
Tannoy Alarm System
Telephone Equipment
Telephone Kiosks
Ticket Machine
Ticket Machine
Traffic Counter
Trafficmaster Units
Tungsten Halogen
Tv Amplifier
TV Camera/Equipment
Variable Maximum Unit (VMU)
Variable Message Signs
Variable Message Signs (Dimmed)
Vehicle Aactivated Sign (Dimmed Activated)
Vehicle Aspect - Filter lamp (dimmed)
Vehicle Aspect - Filter lamp (umdimmed)
Vehicle Detector
Ventilation Unit
Wait Signal/Push Button (dimmed)
Wait Signal/Push Button (undimmed)
Warden Call Equipment
Warning Bell
Water Level Indicator
Weather detection/measurement equipment
WiFi Equipment