## Slide 1: P389 ‘Conflict between BSC and CM Rules’
12 September 2019
Chris Wood
294/04
Public
Notes: - If you are unsure of the classification check with the Modifications Secretary
- The xxx/xx should be the Panel number and agenda item
- Date should be the date of the Panel meeting

## Slide 2: P389: Background
BSC Section K 3.1.8(b) States:
‘A BM Unit comprised of: …CM Assets shall be comprised solely of the CM Assets specified in the Capacity Agreement relating to that BM Unit and shall not include any other Plant or Apparatus’
Introduced Aug 14 to ensure BM Unit Metered Volumes were used for CM Settlement
  All Generating Units associated with CM Assets had to be in same BM Unit (CMRS and SMRS)
  Required Additional BM Units (ABMUs) for SMRS Metering
New CM Rules in Mar 15 introduced more permitted meter configurations
  Generating Units in a Single BM Unit could be split between CM Units or;
  Not all Generating Units in a BM Unit need to be in a CM Unit
  No longer needed specific ABMUs for CM Units
Notes: - Summary slide of issue and proposed solution (just in case it was not made crystal clear by Proposer)
- Please note that you may not need this slide at all (or maybe just proposed solution for the avoidance of doubt) if all you would be doing is repeating exactly what was said (use your own judgement)

## Slide 3: P389: Issue and Proposed solution
Issue
  K3.1.8(b) hampers Capacity Providers and Suppliers in how they can configure their CM Units in relation to their relevant BM Units. Two examples of conflict between the BSC and the CM rules:
    SVA Meters will likely be in the Supplier’s Base BM Unit. This is contrary to K3.1.8(b) as the Meter may be in a BM Unit with non-CM Assets.
    CVA BM Unit may contain non-CM Assets for shared station demand. This is contrary to K3.1.8(b), but is legitimate under the intent of the BSC and CM rules.
Proposed solution
  Delete K3.1.8(b) as it is not needed for Settlement integrity and the original CM purpose has been surpassed by updated CM Rules
  Written consent has been provide from BEIS on behalf of the Secretary of State
Notes: - Summary slide of issue and proposed solution (just in case it was not made crystal clear by Proposer)
- Please note that you may not need this slide at all (or maybe just proposed solution for the avoidance of doubt) if all you would be doing is repeating exactly what was said (use your own judgement)

## Slide 4: P389: Panel’s initial views
Secondary trading in the Capacity Market is not an issue
Agreed that P389 facilitates Applicable BSC Objectives (d) and (f)
Confirmed that P389 should be Self-Governance
Notes: Detail Panel’s initial views on:
  solution(s)
  Applicable BSC Objectives
  Implementation Date
  whether Modification should be treated as Self-Governance
  draft legal text

## Slide 5: P389: Report Phase Consultation responses
Nil responses received
Commensurate with other consultations with negligible impact
Notes: Include table to detail consultation responses if useful otherwise delete (add in a ‘zero’ rather than leaving it blank when there were no responses)
May be more useful to pick out the main points and include a text summary of consultation responses
May need an extra slide for this if a high volume of responses is received and warrants discussion at Panel
Compare with responses received to Assessment Procedure Consultation

## Slide 6: P389: Recommendations
We invite the Panel to:
AGREE that the P389 Proposed Modification:
  DOES better facilitate Applicable BSC Objective (d); and
  DOES better facilitate Applicable BSC Objective (f);
DETERMINE (in the absence of any Authority direction) that P389 is a Self-Governance Modification Proposal;
AGREE a recommendation that P389 should be approved;
APPROVE an Implementation Date of:
  7 November 2019 as part of the November 2019 Release;
APPROVE the draft legal text; and
APPROVE the P389 Modification Report (with the inclusion of BEIS’s written consent).
Notes: Ensure that the recommendations match those in the paper
Ensure recommendations are amended if the Modification is Self-Governance
Delete or duplicate rows as required based on the number of Applicable BSC Objectives and existence of Alternative Solution