## Manufacturer
Manufacturer | Compliant Outstation | CoP1 | CoP2 | CoP3 | CoP5 | CoP10 | CT operated variant? | Days/Channels @30 minutes Demand Periods (DPs) | Comply if change is made to 250 days/channel @30 mins DPs? | Compliance comments | Selectable Demand Periods? | Still sold? | Still sold comments
Actaris | ACE6000 (Type 665) |  |  | ü | ü |  | Yes | 296/8 | Yes | Itron confirmed data storage capacity and number of channels. | Information not provided | No | Itron confirmed
Siemens | CM32 (v4.5) | ü | ü |  |  |  | N/A | 32/32(fixed) | No | Manufacturer confirmed end-of life and support only, no plans to redesign. | 5, 10, 15, 20, 30, 60 | No | Manufacturer confirmed
Landis + Gyr | Z*D (E650) | ü | ü | ü | ü | ü | Yes | >250/6 | Yes (and No) | Issue for one of the family to comply with 125 days @15 minutes DPs which would involve redesign and re-approvals. Manufacturer therefore not supportive of change. | 5, 10, 15, 30, 60 | Yes | Manufacturer confirmed
| Z*Q (E850) | ü | ü |  |  |  | Yes |  | Yes (and No) |  |  | Yes | Manufacturer confirmed
Kenda | Meteor (128KB or 512kB) | ü | ü |  |  |  | N/A | 180 or 833/6 | Yes (and No) | Meteor: 128KB version would not comply for 6 channels @ 30 or 15 minutes DPs (would comply with 4 channels (i.e. CVA registered)). | 5, 10, 15, 20, 30 | No | Manufacturer confirmed not sold but still supported
| Nebula (8MB) | ü | ü |  |  |  | N/A | 600/64 (fixed) | Yes | Nebula: Current firmware ‘wraps’ at 124 days. Can be reprogrammed locally (and remotely) to remove this. | 1, 5, 10, 15, 20, 30 | Yes | Manufacturer confirmed
EDMI | Mk10A |  |  | ü | ü | ü | Yes | 3600/2 | Yes | Based on manufacturer’s brochures. | 1 to 60 | Yes? | Assumed yes as relatively new product
| Mk10D |  |  |  | ü | ü | No | >5000/2 | Yes |  | 1 to 60 | Yes? | Assumed yes as relatively new product
| Mk10E |  | ü | ü | ü | ü | Yes | >5000/2 | Yes |  | 1 to 60 | Yes? | Assumed yes as relatively new product
| Mk7A |  |  |  |  | ü | No | >5000/2 | Yes |  | 1 to 60 | Yes? | Assumed yes as relatively new product
| Mk7B |  |  |  |  | ü | No | >7200/2 | Yes |  | 1 to 60 | Yes? | Assumed yes as relatively new product
| Mk7C |  |  |  |  | ü | No | >5000/2 | Yes |  | 1 to 60 | Yes? | Assumed yes as relatively new product
| Mk6E | ü | ü |  |  |  | Yes | 1875/2 | Yes |  | 1 minute to 1 month | Yes? | Assumed yes as relatively new product
Elster | A1700 |  | ü | ü | ü |  | Yes | 97/6 | No | A1700 and A1140: Manufacturer says: “The A1700 & A1140 are relatively old products we would not upgrade them to add more memory. This does not seem logical on a ‘day plus one’ settlement system, why would you want to have so much data stored in the meter”. | 1, 2, 3 ,5, 6, 10, 12, 15, 20 and 30 | Yes | Manufacturer confirmed
| A1140 |  |  |  |  | ü | Yes | 141/6 | No |  | 1, 2, 3 ,5, 6, 10, 12, 15, 20 and 30 | Yes | Manufacturer confirmed
| A1160 |  |  |  |  | ü | No | 300/1 | No? | A1160: Brochure says: “300 days of half hour data available when one channel selected, using a programmable integration period for up to four selectable channels of load profile for any measured quantity”. | ? | Yes | Manufacturer confirmed
| AS3000 |  |  |  |  | ü | No | ? | ? | AS3000: No information in brochure. | ? | Yes | Manufacturer confirmed
| AS230 |  |  |  |  | ü | No | 120/4 | No | AS230: User’s Manual says: “The AS230 can be programmed to record up to four load profile values from any of the demand registers at the end of each integration period. A maximum of 120 days of data can be stored for 4 channels with 30 minute intervals. The number of days storage increases if the number of channels is reduced, and decreases if the integration period is reduced. The number of day's storage will also be affected if Instrumentation Profiling is configured”. | ? | Yes | Manufacturer confirmed
Kaifa | MA110 |  |  |  |  | ü | No | ? | Yes | Manufacturer confirmed not an issue but did not supply further details. No information in brochures about data storage capacity. Outstations not yet protocol approved for Half Hourly Settlement. | 1, 5, 10, 15, 30, 60 | No | Manufacturer confirmed
| MA309 |  |  |  |  | ü | No | ? | Yes |  |  | No | Manufacturer confirmed
Iskaemeco | MT375 |  |  | ü | ü | ü | Yes | 72/2? | No? | Manufacturer recently sent brochure. Brochure says: Load profile • Two independent Load profiles (LP1, LP2), up to 16 channels each • Programmable LP period (typically 15, 30 or 60 minutes, 1 day) • Capacity (one measurement value with a time stamp and status, period 1 hour): 144 days | 15, 30, 60 or 1 day (other periods on demand) | No | Manufacturer confirmed: "Iskraemeco is not selling MT375 meters in UK anymore. The product was EoL 5 years ago."
Secure Meters | Sprint XP (S*DXP) |  |  |  | ü | ü | No | 150/1? | No? | No response from manufacturer. Sprint XP: Sprint brochure says 150 parameter-days with 30-minute integration period. | ? | Yes but being phased out | Manufacturer confirmed
| Premier (P3****) |  |  | ü | ü | ü | Yes | 53/3? | No? | Premier: Manual suggests 53 days for 3 channels (CoP5). | ? | Yes but being phased out | Manufacturer confirmed
| Calmu 3 |  |  | ü | ü |  | Yes | 53/3? | No? | Calmu3+: Manual suggests 160 days for 1 channel, 53 days for 3 channel (CoP5). | 30 | No | Manufacturer confirmed
| Calmu Link |  |  | ü | ü |  | ? | ? | ? | Calmu Link: No information found. | 30 | No | Manufacturer confirmed
| Sprint 200 (SPD0B2) |  |  |  |  | ü | No | ? | ? | Sprint 200: No information found. | Configurable | Yes | Manufacturer confirmed
| Prometer |  |  | ü | ü |  | Yes | ? | Yes (and No) | Prometer (Series 2000, 3000, 4000): Could comply if programmed with 4 channels at 30 minutes DPs. ProMeter Product Presentation suggests 9 months for 1 channel, 6 months for 2 channels, 5 months for 3 channels, 4 months for 4 channels and 3 months for 5 channels at 30 minutes DPs. | Between 5 and 60 | No | Manufacturer confirmed
| Prometer (R & W) | ü | ü | ü | ü |  | Yes | 186/6? | Yes (and No) | Prometer R &W: Could comply if programmed with 4 channels at 30 minutes DPs. Manual suggests 186 days for 6 channels or 260 days for 4 channels at 30 minutes DPs. | 1, 2, 3, 4, 5, 15, 20, 30, 60 | Yes but being phased out | Manufacturer confirmed to be phased out (in next 12 months).
| Prometer 100 (new) | ü | ü | ü | ü | ü | Yes | 960/10? | Yes (and No) | Prometer 100: Could comply if programmed with 4 channels at 30 minutes DPs. Manual suggests the Prometer 100 meters can be configured to store 960 days of load profile data at 30 minutes Survey Integration Period (SIP) for 10 parameters. Table indicates 1000 days for 5 parameters at 30 minutes SIP. Meter (with integral Outstation) undergoing compliance testing and protocol approval. | 5, 10, 15, 20, 30 or 60 | Yes | Manufacturer confirmed
Schneider | ION 7550 | ü | ü | ü |  |  | Yes | 70 or 190/4? | No? | No response from manufacturer. Brochures for 7550/7650/8800 suggest 5 MB and 10 MB variants. One Revenue Log which can store 35 days (5MB) or 95 days (10MB) @ at 15 minutes intervals. Default values logged by the Revenue Log are: Interval kWh delivered, Interval kWh received, Interval kVARh delivered and Interval kVARh received. | ? | Yes? | Emailed manufacturer and left message. Awaiting response.
| ION 7650 | ü | ü | ü |  |  | Yes | 70 or 190/4? | No? |  | ? | Yes? | Emailed manufacturer and left message. Awaiting response.
| ION 8800 | ü | ü | ü |  |  | Yes | 70 or 190/4? | No? |  | ? | Yes? | Emailed manufacturer and left message. Awaiting response. Recent discussion with a purchaser of Meter suggests the ION 8800 is available.
ELEXON do not and shall not be deemed to make or give any representation, warranty or guarantee, nor shall it have any liability or responsibility whatsoever or howsoever arising (whether directly or indirectly), in relation to the information contained in this spreadsheet