# Risk 007 and Risk 008 Assurance Information Request (AIR) Findings Report

## Performance Assurance Board (PAB)

| Date of meeting | 30 May 2024 |  | Paper number | PAB280/11 |
| --- | --- | --- | --- | --- |
| Owner/author | Andrew Spurr |  | Purpose of paper | Decision |
| Classification | Public |  | Document version | 1.0 |

| Summary | This paper outlines the results from the AIR regarding local interrogation and remote download processes undertaken by Half-Hourly Data Collectors (HHDCs) and provides recommendations to the PAB. |
| --- | --- |

Background

- Risk 007

- The risk that SVA Metered data is not retrieved, such that the proportion of estimated data being used in Settlement contributes to performance standards not being met

- Risk 008

- The risk that SVA metered data is not processed or transferred correctly, or at all.

This AIR was approved in at the December 2023 PAB meeting (PAB275/08).

The aim of this AIR was to gather information on the processes used by Half Hourly Data Collectors (HHDCs) to obtain metered data. This information would in turn inform a recommendation to the PAB on whether an Issue Group and/or a Change Proposal is required to manage assurance of third party metered data provided to HHDCs.

Party Responses

This AIR was sent to 15 HHDCs (encompassing the entire HHDC market) on 20 February 2024. Parties were given a deadline for responses of 20 March 2024.

13 Parties responded to the request on time, while one Party submitted a response to the request late, on 25 April 2024, following an escalation by the Party’s Operational Support Manager (OSM).

A further Party is yet to respond to the request, following a failure by the Party to update contact details to Elexon. This Party has been given an updated deadline of 7 June 2024 to submit a response.

Elexon believes that the results received to date are sufficient to support the recommendations offered in this paper, due to the remaining Party holding a market share that is below 1% (by MSID count). Any further details provided by the remaining Party will be captured in the subsequent outcomes drawn from the results of this AIR.

The responses received to date can be found in Confidential Attachment A.

Findings

The share of Metering systems that rely on local interrogation for data retrieval sits at an average of 5%, with a high of 10%. This represents a significant share of data entered into Settlement and is thus of a large enough scale to warrant additional assurance.

The results do not highlight particular issues within the domain of remote downloads, with HHDCs suggesting that there are clear instructions on the obligations in BSCP502 Section 4 (relating to site validation, time and alarm flag checks). All responsive HHDCs are aware of relevant software versions and confirmed that they have been through BSCP601 protocol testing. The only issue raised within the responses in relation to remote downloads is the application of BSCP601 Section 2.3 . Seven respondents confirmed that changes are notified, while six respondents were either unsure of the obligations or confirmed that changes had not been notified.

When considering the role that third parties play in the local interrogation of Metering systems, five HHDCs exclusively accept reads from Data Collectors (DCs), while eight Parties further accept data from other sources, such as Suppliers and MOAs.

There was a varied response in the end-to-end processes taken during local interrogation, with some Parties relaying data over email and others relaying data through dedicated Settlement systems and Secure File Transfer Protocols (SFTPs). Not all Parties indicated the existence of audit trails, although this was not explicitly prompted within the questions asked.

The software versions used for local interrogation was not known by all respondents, highlighting a potential issue with validation under BSCP601.

There were mixed responses on where responsibilities lay when performing validation and site visit requirements under BSCP502 Section 4, which highlights a need for further assurance activities in this area. This could be through Guidance Notes or by adding clarity within the BCSP itself.

The final submission of data as ‘Actual’ or ‘Estimate’ also received mixed responses, with three Parties submitting all data retrieved through local interrogation as ‘Actual’, while other Parties signified that they made decisions based on factors such as the source of the data, whether it passed validation, or based on Supplier indication. This highlights a concern around the treatment of data within Settlement and a need for additional Assurance activities in this area.

Next Steps

Elexon recommends that further action is taken based on the findings of this AIR, in order to provide additional Assurance on the retrieval and processing of Metered data, in line with the Performance Assurance Framework (PAF) Risk 007 and 008.

Elexon recommends the creation of an Issue Group to better understand the issues highlighted from Party responses to this AIR.

The focus should be directed to improving the effectiveness of BSC obligations with regards to local interrogation practices, namely BSCP601 and BSCP502.

Recommendations

We invite the PAB to:

NOTE the findings detailed within the report; and

APPROVE the recommendation to form an Issue Group on local interrogation practices.

## Attachments

Attachment A – Confidential Risk 08/07 AIR Responses

## For more information, please contact:

Andrew Spurr, Risk & Technique Analyst

Andrew.spurr@elexon.co.uk

020 7380 4303

https://www.elexon.co.uk/meeting/pab-275/

https://bscdocs.elexon.co.uk/bsc-procedures/bscp502-half-hourly-data-collection-for-sva-metering-systems-registered-in-smrs#4

https://bscdocs.elexon.co.uk/bsc-procedures/bscp601-metering-protocol-approval-and-compliance-testing-bscp-601

Amendment to Metering Equipment or Asset Metering Equipment